## h2o calculator
before | after | units |  | Change | % change | WORK NOTES
Domestic Water Conservation Catchment and Reuse Calculator | [9 empty] | Chart source
V 1.0 DRAFT © 2015 Art Ludwig oasis@oasisdesign.net. Developed with support from City of Santa Barbara Water Conservation Department. PARTIAL-NOT COMPLETE OR VETTED. | [10 empty] | Before (gpy) | After (gpy) | Before (lbs/yr) | After (lbs/yr)
• Calcuate rainwater income, rooftop rainwater catchment, runoff, run-on, storage in the soil sponge, deep percolation, indoor water efficiency, | [9 empty] | #REF! | #REF! | #REF!
outdoor efficiency, irrigation settings, plant water use, indoor rainwater use, and greywater reuse. | [9 empty] | #REF! | #REF! | #REF!
• For landscape architects, landscapers, rainwater and greywater installers, water conservation specialists and homeowners. | [9 empty] | #REF! | #REF! | #REF!
• Mainly focused on detatched single family residences with yards but adaptable to other purposes… | [9 empty] | #REF! | #REF! | #REF!
Instructions | [9 empty] | Effective greywater reuse | 480.168 | 8298.888
Blue numbers are inputs, rest are calculated | [9 empty] | Effective greywater reuse | 480.168 | 8298.888
1) To get started, fill in the main variables (first section, green highlight). | [9 empty] | #REF! | #REF! | #REF!
It's better to have an estimate that can be adjustedover time than to leave numbers out because precise values are not available. | [9 empty] | Indoor rainwater use | 0 | 3862.1155
The numbers already in the "main variables" section are typical values for the city of Santa Barbara in 2015. | [9 empty] | Outdoor rainwater use from tanks | 0 | 0
2) Review the summary (second section below, tan highlight). It will now be populated with values for your project,
using a combination of your inputs to the main variables and typical values. | [9 empty] | Estimated indoor usage | 36.5425 | 20.7561
3) You can review the details of the calculation of these numbers in the sections further down on this sheet, changing the input values as you like. | [9 empty] | Indoor metered water use | 53352 | 44708.976
4) You can check out the charts on the other tabs (these are less developed DRAFTS and may not reflect your project's numbers) | [9 empty] | Lawn replacement | 18552.88 | 11371.12
5) To get the best measurement of indoor vs outdoor use, put a submeter on your irrigation controller. | [9 empty] | Metered water usage | 106560 | 105098.736
To get an approximate measure, see "h2o bill-SAMPLE then fill in "h2o bill-YOURS" | [9 empty] | Outdoor metered water use | 53208 | 60389.76
[10 empty] | increase in infiltration | 0 | 34232.46
Known errors/ ommissions: | [9 empty] | decrease in runoff | 0 | #REF!
• This is a DRAFT/ DEMO Not all formulas and graphs are working, not checked for errors
• Run-on inputs need to update summary (they do not currently)
• Soil sponge calc should not include area under buildings | [9 empty] | Produce from site eaten |  |  | 100 | 500
• Overhang area for roof catchment calc is still being optimized | [9 empty] | Water related carbon emissions |  |  | 5000 | 2000
• It is not easy to use!
• Please send your suggested improvements to oasis@oasisdesign.net
Main variables for you to input
Before | After | Units |  | Change | % change |  | Acre to ft2 calculator
4 |  |  | Average population |  |  |  | ft2 | acres | Average US house = 2.5 people
12 |  | hcf/mo | Average metered water usage |  |  |  | 43560 | 1 | https://utilitiesonline.santabarbaraca.gov/
6 |  | hcf/mo | Indoor usage (metered or estimate) |  |  |  | Lawn calculator |  | See h2o bill-SAMPLE, …input your values in the "h2o bill YOURS" tab
10000 |  | ft2 | Area of lot | [5 empty] | http://sbcassessor.com/assessor/details.aspx?apn=027251003
1000 | 0 | ft2 | Lawn area | -1000 | -100% |  |  |  | Input measurements from your yard
2000 | 2500 | ft2 | Irrigated area not lawn | 500 | 25% |  |  |  | Input measurements from your yard
2000 | 2000 | ft2 | Area of roof | 0 | 0% |  | Eave calculator |  | http://sbcassessor.com/assessor/details.aspx?apn=027251003
500 | 2000 | ft2 | Area of roof to infiltration | 1500 | 300% |  |  |  | http://sbcassessor.com/assessor/details.aspx?apn=027251003
500 | 200 | ft2 | Area of hardscape | -300 | -60%
50 | 100 | ft2 | Area of hardscape to infiltration | 50 | 100% | add calcs |  |  | Input measurements from your yard
100 | 1000 | ft2 | Area developed for infiltration | 900 | 900%
100 | 130000 | ft2 | Run-on catchment area to infiltration | 129900 | 129900% |  |  |  | Measure on the ground or with lines in Google Earth | Move?
60 | 20 | Min/in | Saturated soil perk rate | -40 | -66.67% |  |  |  | http://oasisdesign.net/greywater/createanoasis/NCOhowToMeasurePerk.pdf
18 |  | in/yr | Average yearly rainfall | [5 empty] | http://cosb.countyofsb.org/uploadedimages/pwd/Water/Average%20Rainfall%20-%202011.jpg
6 |  | in/yr | Reference drought year rainfall | [5 empty] | http://cosb.countyofsb.org/uploadedFiles/pwd/Water/Hydrology/Historical%20Driest%20Years.pdf
1 |  | in/hr | Reference peak rainfall event | [5 empty] | http://cosb.countyofsb.org/pwd/pwwater.aspx?id=3788
SUMMARY
before | after | units | item | gpy change | % change
Effective water income
106560 | 105098.736 | gpy | Metered water usage | -1461.264 | -1.371% | after needs doing |  |  |  | Metered water usage | 106560 | Metered water usage | 105098.736
13429.665 | 27328.05 | gpy | Rainfall from sky utilized by plants | 13898.385 | 103.5% |  |  |  |  | Rainfall from sky utilized by plants | 13429.665 | Rainfall from sky utilized by plants | 27328.05
740.619 | 11109.285 | gpy | Run-on utilized by plants | 10368.666 | 1400% |  |  |  |  | Run-on utilized by plants | 740.619 | Run-on utilized by plants | 11109.285
480.168 | 8298.888 | gpy | Effective greywater reuse | 7818.72 | 1628% |  |  |  |  | Effective greywater reuse | 480.168 | Effective greywater reuse | 8298.888
0 | 3862.1155 | gpy | Indoor rainwater use | 3862.1155 | ~ |  |  |  |  | Indoor rainwater use | 0 | Indoor rainwater use | 3862.1155
0 | 0 | gpy | Outdoor rainwater use from tanks | 0 | ~ |  |  |  |  | Outdoor rainwater use from tanks | 0 | Outdoor rainwater use from tanks | 0
121210.452 | 155697.0745 | gpy | Total effective water income | 34486.6225 | 28.45%
Metered water use
53352 | 44708.976 | gpy | Indoor metered water use | -8643.024 | -16.2%
53208 | 60389.76 | gpy | Outdoor metered water use | 7181.76 | 13.5%
36.5425 | 20.7561 | gpdc | Estimated indoor usage | -15.7863 | -43.2%
72.9863 | 71.9854 | gpd/capita | av daily usage | -1.0009 | -1.371%
18552.88 | 11371.12 | gal/yr | Lawn replacement | -7181.76 | -38.71%
Water commons effects
0 | 34232.46 | gpy | increase in infiltration | 34232.46 | ~
0 | #REF! | gpy | decrease in runoff | #REF! | ~
Food production |  |  |  | lbs/yr change
100 | 500 | lbs/yr | Produce from site eaten | 400 | 400%
Carbon effects
5000 | 2000 | lbs/yr | Water related carbon emissions | -3000 | -60%
Details…
WATER INCOME
|  | units |  |  |  |  | Notes
Metered water | [5 empty] | Add after numbers from calculations?
12 |  | hcf/mo | Value entered from main variables
144 |  | hcf/yr
106560 |  | gpy | Metered water usage
291.9452 |  | gpd | av daily usage
72.9863 |  | gpd/capita | av daily usage
6 |  | hcf/mo | indoor estimate
146.1699 |  | gpd | indoor estimate
50.07% |  |  | Indoor use
145.7753 |  | gpd | av outdoor usage
53208 |  | gpy | Outdoor metered water use
53352 |  | gpy | Indoor metered water use
Catchment area summary
Before | After
10000 | 10000 | ft2 | Area of lot | 0 | 0%
2000 | 2000 | ft2 | Area of roof | 0 | 0%
500 | 2000 | ft2 | Area of roof to infiltration | 1500 | 300% | x
500 | 200 | ft2 | Area of hardscape | -300 | -60%
50 | 100 | ft2 | Area of hardscape to infiltration | 50 | 100%
7500 | 7800 |  | Area of lot remaining, presumed to be possible for infiltration (permeable, wild or landscaped) | 300 | 4%
100 | 1000 | ft2 | Area developed for infiltration | 900 | 900%
1% | 10% |  | % of lot developed for infiltration | 0.09 | 900%
100 | 130000 | ft2 | Run-on catchment area to infiltration | 129900 | 129900%
100% | 0.7692% |  | % size of infiltration relative to run on catchment
Catchment voume and utilization summary
Before | After
111600 | 111600 | gpy | Gross rainfall income for lot | 0 | 0%
22320 | 22320 | gpy | Gross rooftop rainwater income | 0 | 0%
|  |  | Rooftop rainwater to indoor use | 0 | ~
|  |  | Rooftop rainwater to tanks to irrigation | 0 | ~
795.15 | 5301 | gpy | Rooftop rainwater to soil to plants | 4505.85 | 566.7% | x
4505.85 | 15903 | gpy | Rooftop rainwater to groundwater | 11397.15 | 252.9%
79.515 | 265.05 | gpy | Hardscape rainwater used by plants | 185.535 | 233.3%
450.585 | 795.15 | gpy | Hardscape rainwater to groundwater | 344.565 | 76.47%
12555 | 21762 | gpy | Rainwater on landscape used by plants | 9207 | 73.33%
29295 | 56581.2 | gpy | Rainwater on landscape to recharge | 27286.2 | 93.14%
1116 | 145080 | gpy | Gross run-on available | 143964 | 12900%
740.619 | 11109.285 | #REF! | Run-on used by plants | 10368.666 | 1400%
4196.841 | 62952.615 | gpy | Run-on to groundwater | 58755.774 | 1400%
14170.284 | 38437.335 | gpy | Total rainwater to plants | 24267.051 | 171.3%
38448.276 | 136231.965 | gpy | Total rainwater to groundwater | 97783.689 | 254.3%
Rooftop rainwater to plants and infiltration
Before | After |  |  |  |  | Add roof area calculator
500 | 2000 | ft2 | Area of roof to infiltration | 1500 | 300%
5% | 5% |  | % lost to evaporation and leaks | 0 | 0%
5301 | 21204 | gpy | Average yearly yeild | 15903 | 300%
1767 | 7068 | gpy | Drought year yeild | 5301 | 300%
294.5 | 1178 | gph | Peak event yeild | 883.5 | 300%
4.9083 | 19.6333 | gpm | Peak event yeild | 14.725 | 300%
15% | 25% |  | % to Transpiration | 0.1 | 66.67% |  | Amount of water utilized by plants
85% | 75% |  | % to Groundwater Recharge | -0.1 | -11.76% |  | Typical deep infiltration to groundwater %/ best practices % (lower runoff, ET)
795.15 | 5301 | gpy | Use by plants (good) | 4505.85 | 566.7% |  | Estimated % of infiltration which is transpired by plants before it gets below plant roots and goes to groundwater
4505.85 | 15903 | gpy | Groundwater recharge (good) | 11397.15 | 252.9%
Hardscape rainwater to plants and infiltration
Before | After |  |  |  |  | Add roof area calculator
50 | 100 | ft2 | Area of hardscape to infiltration | gpy change | % change
5% | 5% |  | % lost to evaporation and leaks | 0 | 0%
530.1 | 1060.2 | gpy | Average yearly yeild | 530.1 | 100%
0 | 353.4 | gpy | Drought year yeild | 353.4 | ~
3569647.8114 | 58.9 | gph | Peak event yeild | -3569588.9114 | -100%
59494.1302 | 0.98167 | gpm | Peak event yeild | -59493.1485 | -100%
15% | 25% |  | % to Transpiration | 0.1 | 66.67% |  | Amount of water utilized by plants
85% | 75% |  | % to Groundwater Recharge | -0.1 | -11.76% |  | Typical deep infiltration to groundwater %/ best practices % (lower runoff, ET)
79.515 | 265.05 | gpy | Use by plants (good) | 185.535 | 233.3% |  | Estimated % of infiltration which is transpired by plants before it gets below plant roots and goes to groundwater
450.585 | 795.15 | gpy | Groundwater recharge (good) | 344.565 | 76.47%
Landscape rainwater to plants and infiltration
Before | After
7500 | 7800 | ft2 | Area of landscape | 300 | 4%
83700 | 87048 | gpy | Average yearly yeild | 3348 | 4%
27900 | 29016 | gpy | Drought year yeild | 1116 | 4%
4650 | 4836 | gph | Peak event yeild | 186 | 4%
77.5 | 80.6 | gpm | Peak event yeild | 3.1 | 4%
30% | 5% |  | % to Runoff | -0.25 | -83.33% |  | Typical starting runoff %/ Lowest runoff % with best practices; mulch, basins, swales… (note: check landslide hazard before increasing infiltration; steep and clay are hazard indicators)
20% | 5% |  | % to Evaporation | -0.15 | -75% |  | Typical evaporation/ lowest evaporation with best practices (mulch)
15% | 25% |  | % to Transpiration | 0.1 | 66.67% |  | Amount of water utilized by plants
35% | 65% |  | % to Groundwater Recharge | 0.3 | 85.71% |  | Typical deep infiltration to groundwater %/ best practices % (lower runoff, ET)
|  |  |  | 0 | ~
25110 | 4352.4 | gpy | Runoff (bad) | -20757.6 | -82.67%
16740 | 4352.4 | gpy | Evaporation (bad) | -12387.6 | -74%
12555 | 21762 | gpy | Use by plants (good) | 9207 | 73.33% |  | Estimated % of infiltration which is transpired by plants before it gets below plant roots and goes to groundwater
29295 | 56581.2 | gpy | Groundwater recharge (good) | 27286.2 | 93.14%
Watershed run-on catchment available
100 | 130000 | ft2 | Run-on catchment area to infiltration | 129900 | 129900%
10% | 10% |  | Average % to Runoff | 0 | 0% |  | Typical starting runoff %/ Lowest runoff % with best practices; mulch, basins, swales… (note: check landslide hazard before increasing infiltration; steep and clay are hazard indicators)
1116 | 145080 | gpy | Average yearly catchment available | 143964 | 12900%
37.2 | 48360 | gpy | Drought year catchment available | 48322.8 | 129900%
50% | 50% |  | Max % to Runoff | 0 | 0% |  | Typical starting runoff %/ Lowest runoff % with best practices; mulch, basins, swales… (note: check landslide hazard before increasing infiltration; steep and clay are hazard indicators)
31 | 40300 | gph | Peak event max yield | 40269 | 129900%
0.51667 | 671.6667 | gpm | Peak event max yield | 671.15 | 129900%
Watershed run-on catchment infiltratable
100 | 1000 | ft2 | Area developed for infiltration | 900 | 900%
100 | 500 | ft2 | Area for run-on infiltration | 400 | 400%
0.1 | 1 | ft | Depth average depth below spill point | 0.9 | 900%
10 | 500 | ft3 | Run on surge volume | 490 | 4900%
74.81 | 3740.5 | gal | Infiltation volume | 3665.69 | 4900%
144.7935 | 5.569 | min | Time to fill at peak flow | -139.2246 | -96.15%
60 | 20 | min/in | Infiltration rate | -40 | -66.67%
2 | 6 | ft/ day | Infiltration rate | 4 | 200%
0.33 | 0.33 |  | Reduction factor from peak to continuous infiltration | 0 | 0%
66 | 990 | ft3 | Daily infiltration | 924 | 1400%
493.746 | 7406.19 | gal | Daily infiltration | 6912.444 | 1400%
4.9375 | 14.8124 | gal/ft2/day | Daily infiltration rate/area | 9.8749 | 200%
0.34288 | 5.1432 | gpm | Infiltration rate | 4.8003 | 1400%
| 0.0076574 | in/hr | Max rain rate to infiltrate all water | 0.0076574 | ~
10 | 10 |  | Rain days/ year | 0 | 0%
240 | 240 | hrs | Rain/ year | 0 | 0%
2.74% | 2.74% |  | % time w/ rain | 0 | 0%
4937.46 | 74061.9 | gpy | Run on infiltration capacity | 69124.44 | 1400%
15% | 15% |  | Recovery to ET percentage | 0 | 0%
740.619 | 11109.285 | gpy | Irrigation water savings | 10368.666 | 1400%
4196.841 | 62952.615 | gal/yr | To aquifer | 58755.774 | 1400%
Run-on (flow)
80 |  | gpm | Flow | -80 | -100%
1 |  | days/yr flow | Flow | -1 | -100%
115200 |  | gpy | Run-on | -115200 | -100%
-90090 |  | gpy | Net runoff | 90090 | -100%
15% |  |  | Recovery to ET percentage | -0.15 | -100%
17280 |  | gpy | Irrigation water savings | -17280 | -100%
97920 |  | gal/yr | To aquifer | -97920 | -100%
Water Commons
38448.276 | 136231.965 | gpy | Groundwater infiltration total | 97783.689 | 254.3%
-68111.724 | 31133.229 | gpy | Groundwater infiltration less metered water | 99244.953 | -145.7%
277.2% | 77.15% |  | Metered use as % of groundwater infiltration | -2 | -72.16%
|  |  | Lot runoff |  |  | add
|  |  | Run on catchment runoff |  |  | add
Rooftop rainwater to indoor use
500 |  | ft2 | Area of roofs |  |  | Subrtract from outdoor
134.1641 |  | ft2 | Overhangs
240 |  | ft2 | Accessory structures
0 |  | ft2 | Overhangs
874.1641 |  | ft2 | Total roof area
18 |  | in/yr | Rainfall
9755.6711 |  | gpy | Rooftop Rainfall gross income
90% |  |  | Net yeild after losses
8780.104 |  | gpy | Rainwater available at tanks
180 |  | days | Rainy season length
48.7784 |  | gpd | Average of rooftop rain available at tanks over season
0 |  | gpy | Irrigation with rainwater
3900 |  | gpy | Laundry consumption (post conservation)
4801.68 |  | gpy | Toilet consumption (post conservation)
8701.68 |  | gpy | Consumption eligible for rainwater
23.8402 |  | gpd | Consumption eligible for rainwater
1100 |  | gal | Tank size
46.1405 |  | days | Duration of water stored in tank
2.2551 |  | in | Rainfall to refill tank
90% |  |  | Estimated % of time tank has water during rainy season
44.38% |  |  | Eligible use met by rain
3862.1155 |  | gpy | Rainwater used indoors
0 |  | gpy | Rainwater used outdoors
3862.1155 |  |  | Total Rainwater used
4917.9885 |  |  | Rainwater not used
56.01% |  |  | Rainwater not used
WATER USE
Indoor efficiency
Before | After
4 | 4 |  | average popoulation | Before |  | Conserving | Non-conserving
36.5425 | 20.7561 | gpdc | Estimated indoor usage | % of total
53352 |  | gpy | Estimated indoor usage
5868.72 | 5868.72 |  | Laundry | 11% |  | 11%
18139.68 | 12697.776 |  | Shower | 34% |  | 34%
6935.76 | 6935.76 |  | Kitchen sink | 13% |  | 13%
8002.8 | 4801.68 |  | Toilet | 15% |  | 15%
14405.04 |  |  | Other | 27%
38946.96 | 30303.936 |  | Subtotal pre | % reduction
|  |  | Laundry | 0%
|  |  | Shower-Eco luxury bathing chamber | 30%
|  |  | Kitchen sink | 0%
|  |  | Toilet-UHE toilet | 40% | 0.8 gpf
Subtotal post 2nd round of efficiency
8643.024 |  | gpy | Additional efficiency savings
|  | gpdc | Post-conservation round 2 GPD/ capita
Laundry check
4 |  |  | People
1.25 |  |  | Loads/ week
15 |  | gal/ load
gpy |  | gpd
3900 |  | 10.6849
Reusable Greywater-pre conservation
gpy |  | gpd
45349.2 |  | 124.2444 | Total greywater |  | % reused
5868.72 | 3900 | 16.0787 | Laundry |  | 100%
18139.68 | 12697.776 | 49.6978 | Shower |  | 100%
0 | 0 | 0 | Kitchen sink |  | 0% |  | Optional-Would require some permiting descretion be exercised in our
0 | 0 | 0 | Toilet |  | 0%
24008.4 | 16597.776 | 65.7764 | Reusable water
2% | 50% |  | Efficiency factor |  |  |  | estimate
480.168 | 8298.888 | 1.3155 | Effective greywater reuse
Reusable Greywater-post conservation
gpy |  | gpd |  |  | % reused
|  | 10.6849 | Laundry |  | 100%
|  | 34.7884 | Shower |  | 100%
|  | 0 | Kitchen sink |  | 0% |  | Optional-Would require some permiting descretion be exercised in our
|  | 0 | Toilet |  | 0%
|  | 45.4734 | Reusable water
|  |  | Efficiency factor |  |  |  | estimate
|  | 22.7367 | Effective greywater reuse
Clearwater (R/O drain) |  |  |  | NO RO
4 |  |  | Average population
0.5 |  | gal/dayperson | Drinking and cooking water use
4 |  |  | Ratio drain water: filtered water
2920 |  | gal/yr | Reusable clearwater
56.1538 |  | gal/wk | Reusable clearwater
8.022 |  | gal/day | Reusable clearwater
WATER STORAGE
Storage in soil
7500 |  | ft2 | area of lot
4 |  | ft | Top layer of soil with most roots
30000 |  | ft3 | Volume of top 4 feet of soil
35% |  |  | Open pore space percentage |  |  |  | Estimate
10500 |  | ft3 | Theoretical max storage
25% |  |  | USEFUL Dynamic range |  |  |  | Estimate
2625 |  | ft3 | Usable storage
2 |  |  | Use factor (fill and empty cycles) |  |  |  | Guess; depends on winter water consumption
39275.25 |  | gal | Usable storage in soil
Storage in tanks
1100 |  | gal | Tank
0 |  | gal | Tank
1100 |  | gal | Total tank volume
2 |  |  | Use factor (fill and empty cycles) |  |  |  | Guess; depends on winter water consumption
2200 |  | gal/yr | Effective storage in tanks
WATER USE
Indoor use
53352 |  | gal/yr | Estimated indoor usage | 202.0909 | m3/yr
146.1699 |  | gal/day | Estimated indoor usage | 0.55367 | m3/day
Outdoor use of metered water
53208 |  | gal/yr | Estimated outdoor usage | 201.5455 | m3/yr
145.7753 |  | gal/day | Estimated outdoor usage | 0.55218 | m3/day
Lawn | [6 empty] | LAWN IS GONE
48 |  | ft | Av. Width (approx)
20 |  | ft | Av. Breadth (approx)
960 |  | ft2 | Lawn area
2.5833 |  | ft | Ft of irrigation
2480 |  | ft3/yr | Estimated irrigation | 70.255 | m3/yr
18552.88 |  | gal/yr | Estimated irrigation need
34.87% |  |  | Portion of outdoor usage
Lawn- REPLACED | [6 empty] | LAWN IS GONE
48 |  | ft | Av. Width (approx)
20 |  | ft | Av. Breadth (approx)
960 |  | ft2 | Lawn area
1 |  | ft | Ft of irrigation
960 |  | ft3/yr | Estimated irrigation | 27.1955 | m3/yr
7181.76 |  | gpy | Estimated irrigation need
11371.12 |  | gpy | Savings
61.29% |  |  | Savings
Water feature evaporation | [6 empty] | NO WATER FEATURE
0 |  | ft basin inner diameter | Diameter of tank
0 |  | ft2 | Area
0.28571 |  | in/day | Evaporation, summer (higher due water splashing)
2 |  |  | Av hours/day uncovered
0.02381 |  | in/day | Adjusted evaporation
0 |  | gal/week | Evaporation, summer (higher due water splashing)
100 |  | days/yr | Use days
0 |  | gal/ yr | Evaportation total
Food production |  |  |  | Best link: http://www.johnjeavons.info/worldofhope_episode5.html
lbs/yr |  | lbs/yr
5yrs |  | 20 yrs
These are sample numbers
30 |  | 175 | Lemons
10 |  | 100 | Limes
25 |  | 125 | Navel oranges | http://aggie-horticulture.tamu.edu/citrus/oranges.htm
35 |  | 200 | Valencia oranges | http://aggie-horticulture.tamu.edu/citrus/oranges.htm
15 |  | 100 | Tangerines
15 |  | 15 | Passion fruit
20 |  | 200 | Apple Anna | http://urbanext.illinois.edu/apples/facts.cfm
20 |  | 200 | Apple fuji
20 |  | 200 | Apples dorsett
20 |  | 60 | Avocado | http://www.californiaavocado.com/fun-avocado-facts/
20 |  | 60 | Avocado | http://www.californiaavocado.com/fun-avocado-facts/
50 |  | 100 | Nectarine
50 |  | 100 | Peaches
50 |  | 100 | Peaches
15 |  | 50 | Apricots
30 |  | 30 | Bananas
40 |  | 100 | Pinapple guavas
465 |  | 1915 | lbs Fruit
1.274 |  | 5.2466 | lbs/ day av. Fruit
17 |  | 17 | Number of trees
1 |  | 3 | Rosemary
1 |  | 3 | Tyme
1 |  | 3 | Others
3 |  | 9 | lbs culinary herbs
100 |  | 100 | Tomatoes
20 |  | 20 | Chard
200 |  | 200 | Others
320 |  | 320 | lbs vegetables
0.87671 |  | 0.87671 | lbs/ day av. Vegetables
Climate Effects
Deep green |  | conventional
Carbon sequestered in soil organic matter
[add if desired] |  |  | Carbon stored in mulch
Carbon stored in biomass
CO2 reduction equivalent from yard waste going to CO2 instead of CH3
Yard waste to landfill hauling carbon cost
Carbon cost of metered water provision
Carbon cost of sewege treatment
Avoided carbon cost of desal vs infiltrated groundwater
Carbon savings from on site food production
Solar hot wter
Solar eletric
Landfill effects
7500 |  | ft2 | Total area
874.1641 |  | ft2 | Less structure foot print, min clearance
500 |  | ft2 | Hardscape
6125.8359 |  | ft2 | Eligible for mulching
50% |  |  | Mulched
750 |  | ft2 | Other unmulched |  |  |  | Guess
3062.918 |  | ft2 | Mulched area
1 |  | in | Average mulch application/ yr
255.2432 |  | ft3 | Landfill avoided
9.4535 |  | yd3 | Landfill avoided
Mulch
3062.918 |  | ft2 | Mulched area
3.5 |  | in | Average mulch depth
893.3511 |  | ft3 | Total mulch volume
33.0871 |  | yd3 | Total mulch volume
640 |  | lbs/ yd3 | dry weight | http://www.aqua-calc.com/calculate/volume-to-weight
21175.7291 |  | lbs | Total weight of mulch

## Budget-CHART
Water budget overview
(provisional based on estimated numbers)
| Gal/Year | Gal/Year
Water Income-Individual | deep green | conventional
Use by plants (good) | 12555 | 0
Rainwater used indoors | 3862.1155 | 0
Rainwater used outdoors | 0 | 0
Metered water usage | 106560 | 229950
Additional efficiency savings | 8643.024 | 0
0 | 0 | 0
Reusable clearwater | 2920 | 0
Total water income-Individual | 134540.1395 | 229950
Water Balance-Community | deep green | conventional
#REF! | 38448.276 | 9612.069
Metered water usage | 106560 | 229950
Net water consumption | 68111.724 | 229950
Runoff (bad) | -90090 | #REF!
Water Storage | deep green | conventional
Usable storage in soil | 39275.25 | 0
Effective storage in tanks | 2200 | 0
Total water storage | 41475.25 | 0
Water Use
TO BE ADDED

## h2o bill-SAMPLE
Historical Water Consumption
For finding indoor vs outdoor consumption (will also show large leaks)
SAMPLE data from an actual SB city house…input your values in the "h2o bill YOURS" tab in place of blue numbers. You can find the data at
https://utilitiesonline.santabarbaraca.gov/
| Input blue numbers for monthly meter readings (HCF) | [9 empty] | Monthly | Indoor |  |  | gpd
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | average | est. | Outdoor |  | Indoor | Outdoor | Total
Jan | 5 | 8 | 10 | 4 | 36 | 4 | 7 | 3 | 6 |  | 9.2222 | 4 | 5.2222 | Dec | 99.7467 | 130.2248 | 229.9715
Feb | 9 | 7 | 7 | 4 | 6 | 5 | 4 | 3 | 8 |  | 5.8889 | 4 | 1.8889 | Nov | 99.7467 | 47.1026 | 146.8493
Mar | 7 | 4 | 6 | 3 | 14 | 6 | 5 | 6 | 3 |  | 6 | 4 | 2 | Oct | 99.7467 | 49.8733 | 149.62
Apr | 8 | 9 | 12 | 9 | 28 | 7 | 3 | 5 | 15 |  | 10.6667 | 4 | 6.6667 | Sep | 99.7467 | 166.2444 | 265.9911
May | 12 | 13 | 15 | 13 | 16 | 10 | 6 | 7 | 6 |  | 10.8889 | 4 | 6.8889 | Aug | 99.7467 | 171.7859 | 271.5326
Jun | 11 | 29 | 14 | 6 | 28 | 12 | 10 | 19 | 6 |  | 15 | 4 | 11 | Jul | 99.7467 | 274.3033 | 374.05
Jul | 15 | 16 | 12 | 16 | 12 | 30 | 10 | 11 | 8 |  | 14.4444 | 4 | 10.4444 | Jun | 99.7467 | 260.4496 | 360.1963
Aug | 11 | 17 | 16 | 10 | 14 | 20 | 10 | 5 | 7 |  | 12.2222 | 4 | 8.2222 | May | 99.7467 | 205.0348 | 304.7815
Sep | 16 | 11 | 12 | 10 | 19 | 9 | 6 | 9 | 5 |  | 10.7778 | 4 | 6.7778 | Apr | 99.7467 | 169.0152 | 268.7619
Oct | 9 | 17 | 8 | 19 | 7 | 4 | 6 | 14 |  |  | 10.5 | 4 | 6.5 | Mar | 99.7467 | 162.0883 | 261.835
Nov | 9 | 17 | 4 | 16 | 5 | 4 | 4 | 7 |  |  | 8.25 | 4 | 4.25 | Feb | 99.7467 | 105.9808 | 205.7275
Dec | 8 | 7 | 3 | 11 | 4 | 3 | 3 | 5 |  |  | 5.5 | 4 | 1.5 | Jan | 99.7467 | 37.405 | 137.1517
Annual consumption | 120 | 155 | 119 | 121 | 189 | 114 | 74 | 94 |  |  | 9.9468 | 4 | 5.9468 | Average | 99.7467 | 148.2924 | 248.039
Look at your graph and visually estimate what the consumption is for months when there is no irrigation…note that in drought years there may be irrigation even in Jan, Feb.
Take into account months when you were gone on vacation. Move the red line to that level; that's a good estimate of your indoor use.
Leaks!
Leak!
Red line= Visual estimate of use when there was no irrigation, = approximate indoor use

## h2o bill-YOURS
Historical Water Consumption
For finding indoor vs outdoor consumption (will also show large leaks)
Input your values in the in place of the blue numbers. You can find the data at
https://utilitiesonline.santabarbaraca.gov/
Except for the estimated indoor use, which you can estimate from the 1st, graph as described below.
| Input blue numbers for monthly meter readings (HCF) | [9 empty] | Monthly | Indoor |  |  | gpd
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | average | est. | Outdoor |  | Indoor | Outdoor | Total
Jan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Dec | 0 | 0 | 0
Feb | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Nov | 0 | 0 | 0
Mar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Oct | 0 | 0 | 0
Apr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sep | 0 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Aug | 0 | 0 | 0
Jun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Jul | 0 | 0 | 0
Jul | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Jun | 0 | 0 | 0
Aug | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | May | 0 | 0 | 0
Sep | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Apr | 0 | 0 | 0
Oct | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mar | 0 | 0 | 0
Nov | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Feb | 0 | 0 | 0
Dec | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Jan | 0 | 0 | 0
Annual consumption | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Average | 0 | 0 | 0
Look at your graph and visually estimate what the consumption is for months when there is no irrigation…note that in drought years there may be irrigation even in Jan, Feb.
Take into account months when you were gone on vacation. Move the red line to that level; that's a good estimate of your indoor use.
Move Red line to your visual estimate of use when there was no irrigation, = approximate indoor use

## Greywater
Greywater System Details
22.7367 | gpd reusable greywater
14 | gpd typical fruit tree use Jul-sept 100ft2 canopy |  |  | http://cesonoma.ucanr.edu/files/27167.pdf
50% | Target % of summer irrigation from GW
7 | gpd/ tree
3.2481 | Trees= plan
24 | Total outlets
Bathroom gw (two systems)
7 | ft basin inner diameter
38.4772 | ft2/ basin
8 | basins
307.818 | ft2 infiltration area (approx)
0 | gpd loading
0 | gal/ ft2 av loading
8 | outlets
0 | gpd average loading per outlet
20 | peak people
10 | gal/ person (estimate)
200 | gpd peak load
0.64973 | ft/ water in basins w/ zero infiltration
Laundry GW
6 | ft basin inner diameter
28.269 | ft2/ basin
8 | basins
226.152 | ft2 infiltration area (approx)
34.7884 | gpd loading
0.15383 | gal/ ft2 av loading
12 | outlets
2.899 | gpd average loading per outlet
15 | peak people
15 | gal/ person (estimate)
225 | gpd peak load
0.99491 | ft/ water in basins w/ zero infiltration
Kitchen greywater
1.3333 | ft width |  | Arc 18 from infiltrator systems
5 | ft length per unit
8 | units
53.3333 | ft2 infiltration area (approx)
0 | gpd loading
0 | gal/ ft2 av loading
8 | outlets
0 | gpd average loading per outlet
90 | peak people
2 | gal/ person (estimate)
180 | gpd peak load
3.375 | gal/ ft2 peak load
0.8 | ft width | Estimate
0.8 | ft height | Estimate
25.6 | ft3 volume
191.5136 | gal volume |  | This system looks like it could take the surge from a 90 person event but probably not a 300 person event.
Laundry to Landscape Flow
|  | To first outlet | To first outlet | To first outlet | To first outlet | To first outlet | To first outlet | To first outlet | To first outlet
Specified Data
| l = length of pipe (ft) | 100 | 100 | 75 | 100 | 75 | 75 | 75 | 75
| c = Hazen-Williams roughness constant | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140
| q = volume flow (gal/min) | 1.5789 | 1.5789 | 1.5789 | 6 | 5 | 5 | 4 | 4
| dh = inside or hydraulic diameter (inches) | 1 | 0.75 | 0.5 | 1 | 1 | 0.75 | 1 | 0.75
Calculated Pressure Loss
| f = friction head loss in feet of water per 100 feet of pipe (ft H20 per 100 ft pipe) | 0.26028 | 1.0552 | 7.5875 | 3.0846 | 2.2007 | 8.9216 | 1.4557 | 5.9015
| f = friction head loss in psi of water per 100 feet of pipe (psi per 100 ft pipe) | 0.11192 | 0.45373 | 3.2626 | 1.3264 | 0.94628 | 3.8363 | 0.62596 | 2.5377
| Head loss (ft H20) | 0.26028 | 1.0552 | 5.6906 | 3.0846 | 1.6505 | 6.6912 | 1.0918 | 4.4261
| Head loss (psi) | 0.11192 | 0.45373 | 2.447 | 1.3264 | 0.70971 | 2.8772 | 0.46947 | 1.9032
Calculated Flow Velocity
| v = flow velocity (ft/s) | 0.64533 | 1.1473 | 2.5813 | 2.4523 | 2.0435 | 3.633 | 1.6348 | 2.9064
Zone 1 |  | pipe size
25 | ft from wall to tee point | 1 | in
50 | ft to edge of property | 1 | in
125 | ft to bottom edge
|  | 1" | 3/4" | 1/2"
100 | ft line | 4.1 | 2.3 | 1

## RainRunoff
Rainwater
Rainwater Tank diminsions
height | Width | Volume
4.4167 | 7.25 | 1100 gal | www.watertanks.com/category/367/
| 0.58 | on site plan
Roof Areas
| L (ft) | W (ft) | A (ft2)
a | 10 | 45 | 450 | Approx
b | 8 | 40 | 320 | Approx
c | 0 | 0 | 0
d | 0 | 0 | 0
e | 0 | 0 | 0
f | 0 | 0 | 0
Downspout tributary area
| in/event | in/year
| 1 | 18 | ft2
| gal/event | gal/year
Tank | 477.4 | 8593.2 | 770

## h2oElements
Elevations of water elements
2 | EXAMPLE-NOT STARTED FOR THIS PROJECT
3 |  | current | Flow/Capacity-m3, m3/yr | Prop
4 |  | elevation |  | elevation |  | Notes
5 | CW-R/O drain water | 235 | 8.76
6
7 | RWR- subtotal |  | #REF!
8 | RWR-North downspout-Area A | 232 | #REF!
9 | RWR-West downspout area B and C | 229 | #REF!
10 | RWR-Guest house downspout | 216 | #REF! |  |  | Find and add elevation
11
12 | RW-Road runoff subtotal |  | #REF!
13 | ROF-NE corner road diversion | 227 | #REF!
14 | ROF-SE corner road diversion | 219
15 | ROF-NW corner drainage entry | 194 | #REF!
16 | ROF-SW Drainage exit | 188 |  |  |  | Estimate
17
18 | House-main floor | 225 |  |  |  | Confirm
19 | House-bottom floor | 218
20
21 | GW-SUBTOTAL |  | 134.25
22 | GW-Laundry | 221 | 54.6
23 | GW-Kitchen sink | 227 | 32.85
24 | GW-Main floor Shower | 224 | 46.8
25
26
27 | Stor-Soil sponge top | 227 | #REF!
28 | Stor-Soil sponge bottom | 188 | #REF!
29
30 | Tank-SUBTOTAL |  | 45.2652 |  | Tank height
31 | Tank-1: 1,500 gal 72” diameter; 93” tall; tanks fill and drain as one unit | 216 | 5.6818
32 | Tank-1 in | 223.75 |  |  | -7.75 | Check
33 | Tank-2: 1,500 gal 72” diameter; 93” tall; tanks fill and drain as one unit | 216 | 5.6818
34 | Tank-2 in | 223.75 |  |  | -7.75 | Check
35 | Tank-3 out: 1,550 gallons; 88” diameter; 67’ tall | 218 | 5.8712
36 | Tank-3 in | 223.5833 |  |  | -5.5833
37 | Tank-4 out: 325 gal; 43” diameter; 60’ tall | 218 | 1.2311
38 | Tank-4 in | 223 |  |  | -5
39 | Tank-5 out: 325 gal; 43” diameter; 60’ tall | 218 | 1.2311
40 | Tank-5 in | 223 |  |  | -5
41 | Tank-6 out: 325 gal; 43” diameter; 60’ tall | 218 | 1.2311
42 | Tank-6 in | 223 |  |  | -5
43 | Tank-7out: 325 gal; 43” diameter; 60’ tall | 218 | 1.2311
44 | Tank-7 in | 223 |  |  | -5
45 | Tank-8 out: 5000 gal; 144” diameter; 87’ tall | 218 | 18.9394 |  |  | 4.9242
46 | Tank-8 in | 225.25 |  |  | -7.25
47 | Tank-9 out: 1100 gal; 86” diameter; 53’ tall | 226 | 4.1667
48 | Tank-9 in | 230.4167 |  |  | -4.4167
49
50 | FT-Irrigated trees SUBTOTAL
51 | FT-Upper fruit tree 1 | 211
52 | FT-Upper fruit tree 2 | 208
53 | FT-Lower fruit tree 1 | 206.5
54 | FT-Lower fruit tree 2 | 206.5
55 | FT-Lower fruit tree 3 | 206.5
56
57 | IR-Lawn | 213 |  |  |  | average
58
59 | Water features
60 | WF-Ex. Recirculating stream top | 213
61 | WF-Ex. Recirculating stream bottom | 209
62 | WF-(New feature by oak patio) | 217.5
63
64
65
66
67
68
69

## ChartSRC
CHART SOURCE
current
| elevation | Flow/Capacity-m3, m3/yr
CW-R/O drain water | 235 | 8.76
RWR-North downspout-Area A | 232 | 73.8889
Tank-9 in | 230.4167
RWR-West downspout area B and C | 229 | 114.7222
ROF-NE corner road diversion | 227 | 125.55
GW-Kitchen sink | 227 | 32.85
Stor-Soil sponge top | 227 | 74.3626
Tank-9 out: 1100 gal; 86” diameter; 53’ tall | 226 | 4.1667
Tank-8 in | 225.25
House-main floor | 225
GW-Main floor Shower | 224 | 46.8
Tank-1 in | 223.75
Tank-2 in | 223.75
Tank-3 in | 223.5833
Tank-4 in | 223
Tank-5 in | 223
Tank-6 in | 223
Tank-7 in | 223
GW-Laundry | 221 | 54.6
ROF-SE corner road diversion | 219
House-bottom floor | 218
Tank-3 out: 1,550 gallons; 88” diameter; 67’ tall | 218 | 5.8712
Tank-4 out: 325 gal; 43” diameter; 60’ tall | 218 | 1.2311
Tank-5 out: 325 gal; 43” diameter; 60’ tall | 218 | 1.2311
Tank-6 out: 325 gal; 43” diameter; 60’ tall | 218 | 1.2311
Tank-7out: 325 gal; 43” diameter; 60’ tall | 218 | 1.2311
Tank-8 out: 5000 gal; 144” diameter; 87’ tall | 218 | 18.9394
WF-(New feature by oak patio) | 217.5
RWR-Guest house downspout | 216 | 51.8519
Tank-1: 1,500 gal 72” diameter; 93” tall; tanks fill and drain as one unit | 216 | 5.6818
Tank-2: 1,500 gal 72” diameter; 93” tall; tanks fill and drain as one unit | 216 | 5.6818
IR-Lawn | 213
WF-Ex. Recirculating stream top | 213
FT-Upper fruit tree 1 | 211
WF-Ex. Recirculating stream bottom | 209
FT-Upper fruit tree 2 | 208
FT-Lower fruit tree 1 | 206.5
FT-Lower fruit tree 2 | 206.5
FT-Lower fruit tree 3 | 206.5
ROF-NW corner drainage entry | 194 | 0
ROF-SW Drainage exit | 188
Stor-Soil sponge bottom | 188 | 74.3626
current
elevation
RWR-North downspout-Area A | 232
Tank-9 in | 230.4167
RWR-West downspout area B and C | 229
Tank-9 out: 1100 gal; 86” diameter; 53’ tall | 226
Tank-8 in | 225.25
Tank-1 in | 223.75
Tank-2 in | 223.75
Tank-3 in | 223.5833
Tank-4 in | 223
Tank-5 in | 223
Tank-6 in | 223
Tank-7 in | 223
Tank-3 out: 1,550 gallons; 88” diameter; 67’ tall | 218
Tank-4 out: 325 gal; 43” diameter; 60’ tall | 218
Tank-5 out: 325 gal; 43” diameter; 60’ tall | 218
Tank-6 out: 325 gal; 43” diameter; 60’ tall | 218
Tank-7out: 325 gal; 43” diameter; 60’ tall | 218
Tank-8 out: 5000 gal; 144” diameter; 87’ tall | 218
RWR-Guest house downspout | 216
Tank-1: 1,500 gal 72” diameter; 93” tall; tanks fill and drain as one unit | 216
Tank-2: 1,500 gal 72” diameter; 93” tall; tanks fill and drain as one unit | 216
elevation
RWR-North downspout-Area A | 232
RWR-West downspout area B and C | 229
Tank-9 in | 228
Tank-9 out: 1100 gal; 86” diameter; 53’ tall | 228
Tank-8 in | 228
Tank-1 in | 228
Tank-2 in | 228
Tank-3 in | 228
Tank-4 in | 228
Tank-5 in | 228
Tank-6 in | 228
Tank-7 in | 228
Tank-1: 1,500 gal 72” diameter; 93” tall; tanks fill and drain as one unit | 228
RWR-Guest house downspout | 216
Tank-2: 1,500 gal 72” diameter; 93” tall; tanks fill and drain as one unit | 216